Soil CO2 efflux protocol for PINEMAP

Jason G. Vogel, John Seiler, and Timothy A. Martin

Overview: The following is a protocol for making repeated “spot” measurements of soil CO2 efflux in closed systems, and for separating autotrophic (root-associated) and heterotrophic respiration at the Tier II and Tier III sites.  The approach for separating autotrophic and heterotrophic respiration will be a variation on the root exclusion (RE) methodology, and we are currently testing different approaches to this method.  A finalized protocol for the RE method will be developed during the next year.

The objectives of the soil CO2 efflux and heterotrophic respiration measurements are to (1) gauge changes in plant carbon (C) allocation, and (2) assess heterotrophic respiration response to climate and silvicultural treatments.  Results from the first objective will be compared to 3-PG’s output for pine allocation response to both climate and silvicutural treatment, and results from the second objective will be used to assess the mechanisms for any observed differences in soil C found during the survey of ecosystem C pools.  Beside these immediate scientific goals, it is expected that all measurements and meta-data will be submitted to the University of Florida, allowing for a regional assessment of soil CO2 efflux, heterotrophic respiration and ecosystem C balance.

We preface this discussion by noting that some methods are deemed flexible (IRGA system type, chamber dimensions, numbers of measurements per plot, and measurement frequency).  But we also note methods that are deemed critical and inflexible because of the need for accuracy and cross-study consistency, and some that may require more study.  We highlight further study items at the end of each section so that PI’s and their students can determine if these would fit into their plans for graduate study.

Topics covered in detail (page 2)

- Soil CO2 efflux with a closed loop systems

  - Open systems or steady state systems

Quick overview

- Numbers of collars or measurement positions

  - n=4 per plot/treatment (where treatment is a root exclusion)

- Measurement Frequency

  - At a minimum, monthly in summer (April-September), bi-monthly during winter (October-March)

    - Recommended two measurements per month during second summer season

- Measurement Duration

  - Two years are recommended per site

- Data required

  - Site, Date, Treatment, Hour, Efflux, Airtemp, Soiltemp, Soilmoisture (to 20 cm)

    - Note: ‘Site’ should have corresponding metadata: Fertilization history (amount and timing), weed control, soil type, timing of root exclusion installation and data collected as part of the “Carbon Protocol”

Data recommended

  - Chamber Relative Humidity, forest floor moisture content, litter depth in chamber

1) Soil CO2 efflux: Measurements of soil CO2 efflux using closed IRGA systems have become commonplace in ecological research with some aspects of methodology well-accepted. These include having a long vent for pressure equilibration, an internal circular manifold through which air is pushed, and having either a moisture scrub or an IRGA system configured to deal with increases in internal moisture buildup.   Methodological considerations that are nearly common protocol are simultaneous “spot” soil temperature and moisture measurements, conducting measurements in relatively ‘low-traffic’ locations, avoidance of any living above ground plant material in the chamber, no areas recently disturbed by removal of plant material, avoidance of the use of internal circulation fans, and minimized chamber deployment so as to avoid excessive moisture and CO2 buildup (e.g. 20-90 seconds).  For all groups making soil CO2 efflux measurements, we recommend all of the above procedures are followed (Norman et al. 1997, LI-COR application note 124).

After chamber placement on the soil surface, CO2 buildup inside the chamber is cause for a known source of systematic measurement error with this methodology: The negative relationship between CO2 concentrations in the chamber headspace and soil CO2 efflux (Norman et al. 1997).  For this reason, many commercial systems use a ‘scrub-down’ procedure and calculate efflux for the rate increase interval nearest ambient (open air) conditions.  If a closed, non-scrubing system is used the rate of CO2 increase should be kept to a minimum by manipulating chamber volume or time course of the measurement to avoid any errors caused by CO2 build up.  Great care should also be taken so that CO2 concentration in the head space matches ambient levels at the soil surface.  Pumpanen et al. (2004) compared multiple non-steady states systems and found the scrub down systems slightly overestimated CO2 efflux (4-9%), while non-scrub down systems often underestimated CO2 efflux

Rationale for Permanent Collars at Tier III Installation: An example (Vogel).

At the Oklahoma Tier III site, we decided to use permanent collars because the built infrastructure would have made it difficult to randomly select new locations for each measurement and because the clay soils, when dry, would have made it extremely difficult to insert a chamber into the soil.

We recommend that researchers avoid using permanent collars if the site conditions allow for it (but see sidebar).  We suggest this for primarily two reasons. First, for small diameter collars loblolly pine needles cannot fully fall into the interior chamber and operators need to continuously cut or push foliage into the collar.  Thus, there is an inherent sensitivity to operator vigilance (and/or wind!) of the substrate available to decomposers. Second, for some commercial systems a “collar depth” or its extension above the soil surface is entered into the program and used to calculate efflux with an adjusted volume.  It has been our experience that this can vary widely by operator and timing of collar placement, for example, if a collar is placed during peak fall litter production then depths are perceived as deeper than when collars are placed in mid-summer.  In reality, the collar depths into mineral soil are similar with a minimal amount of volume taken up by pine litter.  And finally, our experience indicates there is no difference in rates when measured with or without collars and thus, collars can be viewed as an unnecessary expense.  PVC is fairly expensive and preparing the collars requires cutting and beveling edges, which translates into people hours on specialized equipment (lathes, bandsaw, belt sanders). Animals can also wreak havoc on collars left in place for long periods of time, and/or colonize collar undersides (ants).

Pressing a chamber into the soil at the time of measurement does pose some challenges to accurate measurements, but these can be overcome with a few precautions.  First it is important that a seal is created between the soil surface and the chamber’s bottom such that wind or external pressure changes do not create “puffs” of CO2.  The chamber’s lower edge should be beveled so that it can easily press 1-2 cm into the surface soil.  This depth may be difficult in areas with a thick litter layer or fine coarse-woody debris.  Where contact with the mineral soil surface is uncertain, a blanket or compressible foam skirt may be used.  This approach has been proposed by researchers working in northern systems with a bryophyte understory (Vogel, unpublished).  However, the utility of this approach does warrant investigation as we have no experience with it in loblolly pine forests.  Once the chamber has been sealed to the ground surface, the scrub down procedure can take place. We recommend from 10-20 ppm (depending on collars dimensions) below ambient so that any CO2 prematurely evacuated from soil pores is scrubbed from the chamber.  In addition, this allows for duplicate measurements in the same location.  After one efflux is recorded, the chamber can be scrubbed back down and efflux measured a second time.

A few general notes on when and where to make soil CO2 efflux measurements. On a daily basis, researchers should attempt to measure around the “mid-point” of the diel soil temperature curve, which is generally mid-morning (9 am) until 1-2 pm in the afternoon or very late afternoon (>5 pm). For many study plans completing all measurements within this timeframe will be difficult, in this case we suggest researchers “reverse” order their measurements between sampling dates.  In other words, a collar measured in late-afternoon on one date would be measured in the early morning on the next date.  Very windy or heavy rain days should be avoided. Minimum wind speeds will vary depending on canopy cover, researchers can determine their own thresholds by examining the linearity of CO2 efflux.  Note that extremely heavy rains may for 1-2 days afterwards result in anomalously high and low fluxes.  Regarding spatial considerations, we recommend that pin flags are used to delineate an active area of measurement so that others avoid trafficking through that area and so that soil cores can be collected from that area.  Vascular plants, mushrooms, cryptogams, termite or ant mounds should be avoided because these create respiration “hotspots”.  We recommend this with some trepidation however, because very little research exists on how respiration from the macrofauna decomposers scales to affect annual soil CO2 efflux.

Researchers should also measure distance to the center bed and distance to the nearest tree for each measurement area.  In open canopies litter will clearly be concentrated near the tree base, but even in closed canopies, rates are generally higher closer to the tree base.  In addition, wheeled vehicles may have compacted the soil in some areas, resulting in lower efflux rates.

Open Systems: Researchers wishing to use a so-called open or steady state CO2 efflux systems should consider comparing their results to a closed system.  Theoretically, open systems avoid the negative influence of chamber headspace CO2 concentration on diffusive flux, and may incorporate natural pressure changes into the measurements. In practice, open systems generally return CO2 efflux values higher and in some cases much higher (Rayment and Jarvis 1997), than closed systems in similar environments.  Clearly, the open systems may be “right”; however the engineering and data handling with these systems requires consideration by the researchers.  Since few of us will have these systems, this may require a comparison to existing closed systems to understand how the two approaches relate to one another.

Summary of soil CO2 efflux methods

Required:

- Pressure vent tube

- Minimize chamber time on soil surface or collar (20-90 seconds without drawdown)

- Manifold “outflow” on bottom of chamber

- Monitoring of chamber internal moisture (relative humidity)

- Soil moisture and temperature

  - Recommended Campbell hydrosense probe with vertical placement

  - Soil temperature at 10 cm depth

- No internal fans

- Measure in traffic and vegetation free areas

- Measure distance to nearest tree and top of bed

- Completion of meta-data for each set of measurements

Recommend:

- Scrub down procedure

- Internal chamber air temperature

- No collars—direct placement of chamber on soil surface

- Two measurements from same location

- Avoid windy and heavy rain days

- Avoid animal burrows and “green” plants in measurement area

- Collection of soil cores for soil and root C from same areas of soil CO2 efflux.

Potential further study

- Effect of hotspots on integration

- Comparison of fixed collars vs. chamber pressed in soil